How to Add Solutions to a Container

When using any type of dropper to add liquids to a container, NEVER touch the tip of the dropper to anything or you will contaminate the solution. ALWAYS drop the liquid through the air into the container.